## Slide 1: kHz Pulsed Beam Micro-Positioning
BELLA HTU

## Slide 2: A Traditional Method
PID Feedback Algorithm:
Optimization Problem: Find parameters and that minimize pointing fluctuation given various beamline data sets.
Where is the error from a given set point (i.e. gas jet target)

## Slide 3
A Traditional Method
PID optimized on dataset using MATLAB.

## Slide 4: kHz vs. CW:
A kHz pulse beam effectively lowers the bandwidth of a control system.
A PID controller loses performance when it can’t output corrections at a high rate (below 10–100 kHz).
A PID controller is naïve. For disturbance rejection, its effective ‘prediction’ is limited by 3 constant parameters.
In particular, the ‘derivative’ term is poor at noise rejection.
Chess vs. Boxing: There’s 1 ms of dead-time in the control loop that could be used to model the noise and
make a prediction as to its next “move”, in addition to reacting to residual errors.

## Slide 5: kHz vs. CW:
Why not leverage the fluctuations spectral content in real-time control?

## Slide 6: Transiency: Resolving Fast Changes in Amplitude

## Slide 7: Transiency:
Discrete Short-Time Fourier Transform
where is a window function.
Individual frequencies/bins are identified and an algorithm for the DTFT for each tone is implemented in the controller.
Computational efficiency bonus: make the algorithm ‘sliding’.
forecasting window
new sample

## Slide 8
In both plots, an inherent rectangular window function adds lobes and width to the frequency response inversely proportional to the window length N.
However, too long of a window and the ability of the system to quickly react to frequency changes is lost.
Continuous Transform on Discrete Data vs. Integer-valued (FFT,DFT)
samples
samples

## Slide 9: Lobes: Important for Low N
There is a closed form solution for if is )
Samples
Notes: |𝑋(𝑘,𝑘_0,N)|^2=(〖sin^2 (〗⁡〖𝜋(𝑘−𝑘_0)〗)" " )/(〖sin^2 (〗⁡〖〖𝜋(𝑘−𝑘_0)〗∕𝑁 〗))+(〖sin^2 (〗⁡〖𝜋(𝑘+𝑘_0)〗)" " )/(〖sin^2 (〗⁡〖〖𝜋(𝑘+𝑘_0)〗∕𝑁 〗))+2 cos⁡( 〖2𝜋(𝑘+𝑘_0〗∕𝑁))

## Slide 10: Lobes: Important for Low N
Lobe interference is minimized either through good choice of sampling length , filter placement , or window function.
Nodes located at
Frequency Response
A filter placed at with history will experience interference from frequencies at with phase according to this equation.
Samples
Provides orthogonality
Notes: |𝑋(𝑘,𝑘_0,N)|^2=(〖sin^2 (〗⁡〖𝜋(𝑘−𝑘_0)〗)" " )/(〖sin^2 (〗⁡〖〖𝜋(𝑘−𝑘_0)〗∕𝑁 〗))+(〖sin^2 (〗⁡〖𝜋(𝑘+𝑘_0)〗)" " )/(〖sin^2 (〗⁡〖〖𝜋(𝑘+𝑘_0)〗∕𝑁 〗))+2 cos⁡( 〖2𝜋(𝑘+𝑘_0〗∕𝑁))

## Slide 11
Frequency Response
Lobe interference is minimized either through good choice of sampling length , filter placement , or window function.
A filter placed at with history will experience interference from frequencies at with phase according to this equation.
Nodes located at
Provides orthogonality
Lobes: Important for Low N
, f is in Hz, Fs is the sampling frequency
Notes: |𝑋(𝑘,𝑘_0,N)|^2=(〖sin^2 (〗⁡〖𝜋(𝑘−𝑘_0)〗)" " )/(〖sin^2 (〗⁡〖〖𝜋(𝑘−𝑘_0)〗∕𝑁 〗))+(〖sin^2 (〗⁡〖𝜋(𝑘+𝑘_0)〗)" " )/(〖sin^2 (〗⁡〖〖𝜋(𝑘+𝑘_0)〗∕𝑁 〗))+2 cos⁡( 〖2𝜋(𝑘+𝑘_0〗∕𝑁))

## Slide 12: Optimized Filters HTU

## Slide 13: Wavelet Transformation:
In practice, a fast dwt is implemented as a tree of parallel HP and LP filters, defined by the mother wavelet. It is used predominantly in image processing.
Complete Frequency Information

## Slide 14: Implementation
Sensor Readout and Exposure
~370 us
Ethernet Transmission
~20 us
Centroid Calculation
~15 us
Filtering and predicting
~20 us

## Slide 15
Centroid
DAC